FUKUSHIMA FUEL and POOLS

The number of spent fuel assemblies in the spent fuel pool of each Unit is as follows.

Unit   : number / capacity

Unit 1:  292 / 900

Unit 2:  587 / 1240

Unit 3:  514 / 1220

Unit 4:  1331(*) / 1590

Unit 5:  946 / 1590

Unit 6:  876 / 1770

Common(Shared) fuel pool: 6375 / 6840

(*) 1331 includes 783 spent fuel assemblies and 548 unloaded from the reactor for the inspection.

The pool size of each Unit is as follows

Unit 1: approx (L)12.0m (W)7.2m (H)11.8m (approx 1020m3)

Unit 2: approx (L)12.2m (W)9.9m (H)11.8m (approx 1425m3)

Unit 3: approx (L)12.2m (W)9.9m (H)11.8m (approx 1425m3)

Unit 4: approx (L)12.2m (W)9.9m (H)11.8m (approx 1425m3)

Unit 5: approx (L)12.2m (W)9.9m (H)11.8m (approx 1425m3)

Unit 6: approx (L)12.2m (W)10.4m (H)11.8m (approx 1497m3)

Common fuel pool: approx (L)12m (W)29m (H) 11m (approx 3828m3)