25.04.03

Nuclear waste: chasing myths

The following lines deal with the questions of nuclear waste which so often are put forward as an argument against nuclear energy. I hope you will excuse some rather strong statements, but we feel that it is necessary to make things clear in that field.

We shall review here in a synthetic manner the questions raised by the problem of the nuclear waste. For details and justifications, ample documentation exists and can be consulted, especially at IAEA, OECD-NEA, EEC sites.

We shall deal with the following:

- the waste categories, origin and potential hazard,

- their amounts and their treatment,

- their disposal,

- safety considerations and conclusions.

- Nuclear waste categories, origin and potential hazard.

Nuclear waste is created above all by the fission of heavy nuclei, thus producing the “fission products”, some of them being gaseous.

Plutonium and “minor actinides” (neptunium, americium, curium….) are also produced in the process by neutron absorption in the uranium nuclei.

A few percent of the total radioactivity is left in the body of the reactor by contact (“contamination”) and by transmutation of some surrounding materials of construction by lost neutrons (“activation”).

Radioactive waste can be harmful by contact because of penetrating gamma– and beta–radiation (irradiation), and by absorption of radioactive material, including that emitting alpha radiation; this is called contamination. Alpha rays are stopped by the skin, but if an alpha–emitter reaches sensitive organs, like bone marrow, it can be harmful. In no case will the nuclear waste induce radioactivity in surrounding objects, whether by irradiation or by contamination.

Waste is classified in terms of two criteria: the duration of the radioactivity and the intensity of this radioactivity.

Duration is determined by the time it takes the radioactivity of a radio–isotope to decay by half, called the half-life. After 10 half-lives, the radioactivity has decreased by a factor one thousand and tends towards zero.

For example, the activity of a given sample of tritium (half-life 12 years) will be reduced by a thousand in about 120 years. Cesium-137 and Strontium-90, very well known fission products, have half-lives of about 30 years; so they decay a thousand–fold in about 300 years. On the other hand, a stable poison like mercury will remain dangerous indefinitely. Some of the actinides have a very long half-life; for Plutonium-239 it is 24 000 years. Hence questions are raised about the long duration of nuclear waste.

The other parameter is the intrinsic activity: we shall have “high-level, medium-level, low-level” waste. You will note that due to radioactive decay, an initially high-level waste will lose activity after a more or less long time.

a) The initially high level, long-lived waste

This is the one which causes concern. It is contained in the spent fuel after it is discharged from the reactor. For policy considerations, the reactor fuel cycle may be “once through” after which the entire spent fuel is then considered as a waste to be disposed of. Or the spent fuel may be reprocessed to recycle its useful components – uranium and plutonium, and to separate the “waste” composed of the fission products and the minor actinides together with a little plutonium. This latter waste is separated, concentrated, immobilized as an inalterable glass poured in welded stainless-steel canisters.

In both cases, the initial radioactivity is huge, but it decreases very rapidly due mainly to the decay of the beta– and gamma–emitting fission products (FPs). Their radioactivity almost entirely disappears within 300 years, leaving mainly the long-lived minor actinides and about 10 very long–lived beta–emitting fission products (technecium–99, iodine–129, …). After 300 years the “penetrating” radiation (due to beta– and gamma–emitters) has decreased by a factor of about a hundred thousand. This all–important fact is usually not mentioned when speaking about nuclear waste.

Moreover, three factors come into play in a positive way:

- The longer the “half–life” of a radioactive nucleus, the less radioactive it is. For example, a given quantity of iodine–129 of half-life 17 million years is about eight hundred million times less radioactive than the same quantity of iodine–131 of half-life 8 days (the one which was responsible for thyroïd cancers around Chernobyl). Our body is slightly radioactive due to the presence of some thousands of becquerels of potassium–40, a naturally radioactive isotope of potassium, of 1.3 billion years half-life.

- The 10 or so “long-lived fission products” are mainly low energy beta–emitters, which means that their radiation is not penetrating, and their health hazard is far less than that of the original mixture of FPs.

- The remaining hazard lies with the “long-lived minor actinides” and plutonium (all of the Pu in unprocessed fuel elements, only minute amounts in reprocessed waste). But the long-lived actinides are alpha-emitters and, as we have seen, alpha radiation is stopped by the skin or by a sheet of paper. Thus, the main danger of this waste is ingestion, as with any toxic chemical. But, as they are confined in solid fuel elements or in vitrified waste blocks, the possibility of ingestion is very remote.

Then 	why should we be concerned with the long-lived waste if the beta– and gamma–emitters and alpha–emitters do not create a serious problem any more? Indeed, after about 4000 years (the age of the Pyramids) when gamma–ray emitting americium–241 will have disappeared, the remaining irradiation hazard comes from spontaneous fission neutrons emitted by isotopes Pu–240 and Pu–242. Modern high burn-up fuel contains about 0.25% Pu–240 (half-life 6500 years), and about 0.07% Pu–242 (half-life 380 000 years). This would cause an exposure of about 1 to 10 Sv/hr in contact with a spent fuel element without protection, or about 0.1 Sv/hr in contact with a vitrified waste glass block from high burn-up reprocessed fuel, from which most of the Pu was removed in reprocessing.

These figures are not negligible of course but in view of the small relative volume of these so-called high-level, long-lived wastes, it is easy to isolate them, shield them and store them in such a way that they are guaranteed harmless to man and the environment (see below).

Figure: High-level waste decay modes

(Ref. IAEA, 1995)

The other types of nuclear waste are much less radioactive by many orders of magnitude:

- The medium and low-level waste is short lived and comes from reactor operation. In recent years, their volume has been greatly reduced (by a factor of 3) due to improvement of operation. They are usually incorporated in cement blocks to be stored in above–ground repositories.

- (((missing text))) ?

- The long–lived wastes of medium and low activity are the by-products of reprocessing. These will normally be put in underground repositories for they contain minute amounts of long–lived isotopes, mainly plutonium.

- The activated or contaminated structural elements are components of dismantled reactors. These will also be stored under shielding (concrete if necessary) in above-ground repositories.

- The by-products of uranium mining will stay near the mines where they belong. Adequate protection from leaching and radon emission will be provided with clay barriers, then the area will be landscaped.

- Only extremely low activity effluents, sometimes containing non–toxic quantities of tritium, will be released to the environment (into the sea, rivers and atmosphere). Their activity approaches that of natural background.

- Volumes of the waste

It is important to realize that the volumes of active nuclear waste are very small, which allows us to use relatively costly handling with the most modern technologies. With sensitive counting equipment the deposited material can be well managed and well monitored. This is not the case for other toxic industrial wastes; in an industrialized country like France, they are about 100 times more voluminous than the nuclear waste produced annually by 58 large nuclear power units, including reprocessing, dismantling, vitrification and casting in concrete. The French case is interesting due to the spent fuel reprocessing option.

Table 1.

Waste volumes, Europe

TABLE 2 .

Waste volumes, France.

- It is also important to know that due to the progress made in the thermodynamic efficiency and use of the uranium, and also in the new reactor types, especially those of the “dry” types which will use helium gas as a coolant, the volumes of low and medium-level waste produced will decrease again drastically if referred to the unit of power delivered, compared to the already low figures of today.

- Finally the long-lived waste mainly due to the minor actinides can be “burnt” for a good part in the fast neutron flux of future fast reactors, so that the toxicity of the long-lived repositories will be strongly diminished, thus further reducing a hazard which is already negligible if the usual precautions are taken.

What are these precautions for disposal of the long-lived waste?

3. Disposal of the nuclear waste

There are two cases to be considered:

- The spent fuel is used “once-through” and stored without recycling. In this case less than 1 % of the energy has been used. This spent fuel is in itself a “uranium mine” containing useful plutonium, some minor actinides and the fission products. If this fuel is to be disposed of, it will be well protected in copper sheaths and iron containers, and after “cooling” for about 50 years at the site of the reactor it will be permanently stored 400 to 800 meters underground in a bed of absorbent clay with protection against water seepage.

- The spent fuel is reprocessed to recycle the uranium and plutonium. The separated long-lived waste, initially of high-level, is vitrified and sealed in stainless-steel canisters to be disposed of in similar deep underground deposits.

In either case, the international safety simulation programs PAGIS and EVEREST developed by the European Commission show that the health of the people living above will in no way be affected at any time by this underground deposit. Seismic tremors, accidental water seepage or other geologic phenomena like glaciations. ???? will have no effect.

These calculations are confirmed by numerous observations made in nature. These “natural analogues” include ancient forests preserved in clay, high grade uranium mines confined underground within clay barriers, and especially the ancient natural reactors found at Oklo, Gabon, in which nuclear fission chain reactions operated for hundreds of thousands of years with the fission products remaining nearby in the clay without migration for 2 billion years.

The amount of observational data on the subject is huge. Everything converges to show that a well-engineered underground depository for the small volume of long-lived nuclear waste is adequate. The USA and Finland have decided to use this method, and it was recommended by the European Commission in 2001.

4. Remarks

- Many people improperly call the spent fuel or other nuclear materials “waste”. Reprocessing today permits us to decrease the volume of the high-level long-lived waste and to recycle useful uranium and plutonium now or at some later time. This of course in a view towards sustainable development and sparing the raw material for our successors.

But in the decades to come, new reactors, especially those operating with fast neutrons, will be able to “burn” all sorts of fuels, natural or depleted or reprocessed uranium, plutonium from civilian reactors or military plutonium, and even minor actinides which are today considered as waste. Not only the material balance of natural uranium use will be highly upgraded (theoretically by a 100-fold factor), but some long-lived waste will be transformed into energy, thus reducing in an important way the long-term toxicity of the waste. Optimistically, one could achieve an overall toxicity comparable to that of the original ore from which the uranium fuel was prepared, in about 1000 years, instead of to day’s odd 50 000 years.

- For that reason, in our view, it is not necessary to have recourse to specialized transmutation in accelerators after isolation of these long-lived isotopes as sometimes proposed, the cost and the hazards incurred in these tedious operations being incompatible with industrial handling.

5. Conclusion

We apologize for having entered into somewhat technical details in order to approach the matter of the long-lived nuclear waste and try to show that finally the problems of nuclear waste are not as unsurmountable as we are told by the media; that they are well-mastered and adequately safe.

It is highly desirable that all this would be made clear to the media and the public, in order to dispel their apprehension which is largely if not totally unfounded. Lengthy and expensive studies of this problem in many countries have confirmed this conclusion. The money being spent nowadays for further such investigations could be better spent on subjects of greater relevance to mankind’s survival in a sustainable environment.

N.B. I will gladly accept remarks or possible corrections on this important subject. The aim of such discussion is to make as clear as possible information which are rather simple but not always readily available in a compact form, in order to get an objective view of a very controversial subject.

Michel Lung

### References

- “Plutonium fuel: an assessment”, OECD-NEA, 1989

- IAEA, documents about waste management, 1995.

- EEC, COM 799, 1988, and Mrs de Palacio’s recommendations about waste disposal, 2001.

_____________