How much steel and how much concrete

for the fabrication of windmills and nuclear reactors ?

|  | EPR nuclear reactor | Typical modern windmill |
| --- | --- | --- |
| Power | 1 600 MW | 2 MW |
| Coeff production (h/an) | 7000 h (80% of 8760 h) | 1750 h (20% of 8760 h) |
| Life time | 60 years | 15 years |
| Total production in TWh (over entire lifetime) | 670 TWh | 0,053 TWh |
| Tons of steel | 40 000 | 150 |
| Tons of concrete | 200 000 | 1000 |
| Tons of steel per TWh | 60 tons of steel per TWh | 2830 tons of steel per TWh |
| Tons of concrete per TWh | 300 tons of concrete per TWh | 18900 tons of concrete per TWh |

For the same amount of electricity produced, windmills require 50 times more steel and 60 times more concrete than nuclear reactors.

This is with the EPR reactor which is a rather “heavy” reactor (more steel and concrete than its’ competitors, such as the AP-1000).

EFN / Bruno Comby  / 7 02 2007